FYI

What could be disrupting is that all the scripts are personalized to my image names, paths where my files are stored and my annotation class names. So, you will have to change the names of your pictures to match mine.

This is how I named my pictures (exported from the microscope/LAS X):

Workflow Colocalization

0. Fiji – Image Processing (2D-merging uses Maximum Intensity here)

- (I also have a macro for average intensity)

- I have all the needed folders (create them before) saved in one called “Count_Processing” and sub-folders are named LVCC_RAW, z_merged and channel_merged (you can name them however you want though)

- Open macro Z_Project_and_Merge_MI.ijm → just drag the script into Fiji and click “run”

- Select Input folder (e.g. LVCC_RAW, z-stack images from microscope)

- Select Z-Stack merged folder (e.g. z_merged, where z-stack merged shall be saved)

- Select Channel-merged folder (e.g. channel_merged, where merged images will be saved)

1. Ilastik – Export Segmentation (one model for c-FOS, one for GFP)

- Open pixel-classification model, click live (if batch processing is not clickable/greyed out)

- Export: Simple Segmentation, Format: TIFF, type: integer 8-bit

- Save to desired Output folder, mine is named: cFOS_Ilastik export and another one: GFP_Ilastik_export (all saved in one big folder named Ilastik, there I also added “cFOS_training” and “GFP_training” where my training pictures are stored)

- Import your single-channel images (use the z-stack merged ones, check for the correct channel: ch01, ch02 and so on)

- Start batch processing

2. Fiji – Invert, Pixel Normalization & Rename (should work for c-FOS and GFP)

- Open macro invert_rename.ijm→ same as above, just drag&drop

- Select Input folder (Ilastik output folder)

- Select Output folder, mine is named: cFOS_segmentation/GFP_segmentation

- Result: images are inverted, pixel normalized and renamed: count3_1_cFOSseg.tif or _GFPseg.tif etc. (if your pictures were named correctly before)

- you need to run it twice, once for cFOS and then for GFP (or the other way around)

3. QuPath – Setup & Import Images

General Info:

- To add images (don’t add anything yet), shapes or scripts you can just drag&drop into the open QuPath window, if it’s a general file the open picture doesn’t matter, if it’s a file specifically for one picture only, make sure that one is opened/selected

- For later: To run a script, click the </> or go to Automate > script editor or just drag&drop the script into the QuPath window. If you haven’t closed QuPath, all your recently used/opened scripts are in the automator, so you don’t have to drag and drop it again, only if you close the program and reopen)

- Make sure to always save any changes (of the pictures), but QuPath always asks you to save if you go to a new picture (double click on a new image) anyway

Let’s begin:

- To start a new project, first create a folder anywhere on your PC (eg. QuPath_count), then open QuPath, click “create project” and save your folder. If you close QuPath and reopen it, you need to go to “Open project” and select the “project.qpproj” file (that should be the only one you can select)

- Add Images → first channel merged images, Image type: fluorescence, autogenerate pyramids

- Save everything

- Close QuPath, reopen it and open your project (don’t click on a picture!) and change channel names. (You don’t necessarily have to rename them though). Don’t forget the quotation marks. (You can check the channels if you click the half-moon shape or shift + c)

- Also go to “Annotations” (next to Project, Image, …) and delete all the existing classes (in class list) using the minus symbol. Then add your classes (using the plus symbol): mine were GFP (cyan, to change the colour, click on the coloured square), cFOS (magenta), GFP:cFOS (lime) and background or negative (Yellow)

- Then draw shape using polygon line in every picture, double click to freeze (if you want to change it later, go to “Annotations” and click the correct annotation on the right, it should then turn yellow and you can change it. If there is a lock symbol, unlock it by right clicking and choosing “unlock”)

- Export (File > Export objects as GeoJSON) each shape (if it doesn’t work, select it as described above) and add them to one folder (e.g. named “shapes”) and name them (eg. count3_1.gejson, count3_2.geojson, …), I added my folder to the big QuPath project folder

- You also need these folders in the Qupath project: Ilastik_Objects and CSV_colocalization

- Now add segmentation Images → drag in inverted TIFFs, Image type: other, autogenerate pyramids

- If image appears black: set min 0 and max 256, gamma always 1 (Click the Half Moon Shape, there you can see the channel settings)

- If it is still black, there was a problem with the pixel normalization in FIJI

- Drag&Drop each shape (I hope you saved it) onto the correct segmentation image or run the script import.ROI.groovy (again, don’t select one of the segmentation images or script won’t run for this picture, select another one, that doesn’t have “seg” in its name!)

- If a script was cancelled and just seems to be running for a long time and nothing happens in the log, save your last changes, close qupath, click yes on close anyway, reopen the project, drag in the script and hit run again

- If there are any problems with the script, they are noted in the little window in the script editor

4. QuPath – Threshold + Create Objects (if you want to create your own, continue below → the purple headers)

- This step is a 2 in 1 and simultaneously recognizes cells (pixel classification) and circles (object classification) them

- The script uses my already created pixel classifiers, that must be saved in your QuPath project folder in “classifiers” > “pixel_classifiers” if you want to use them as well! If the folder is not there, create both of them!

- To run a script, click the </> or go to Automate > script editor and drag&drop or just drag&drop the script into the QuPath window

- Make sure if you run the script that the segmentation images are not selected, so go to a “normal channel-merged” picture, if you don’t, the current open picture will not have the circled cells!

- Run script Pixelclassifier_Objects.groovy (make sure, no segmentation picture is open, or it will not work for this picture, open one, that doesn’t have “seg” in its name!)

- If you are done, continue with 7. (blue header)

Info/Troubleshooting

- The script detects the cells using the pixel thresholder (pixel classification) and then circles them using the object-creator (object classification)

- If cells are circled weird, that’s the object creator’s fault, adjust the min cell size number (but 15 is really small already so you shouldn’t have any problems, if you set it lower, small pixels will be detected, that aren’t even cells)

- The threshold only separates the cells from background, there should be absolutely no problem there → if there is a problem though, hover your mouse over the image and check the number in the lower right corner, it should be 0 for background (black) and 255 for cells (white) → if that is not the case, there was a problem with the pixel normalization in Fiji (Step 2)

5. QuPath – Threshold (manual, first time setup, but should be ok with mine, since pixels were normalized in Fiji in Step 2)

- This step is the pixel classification, it recognizes the cells (normally you shouldn’t need to change anything, using my scripts is ok, because in Fiji, we set black to 0 and 255 for white cells)

- In QuPath open a segmentation image, go to: Classify → Pixel Classification → Create Thresholder

- Resolution: Full, Prefilter: Gaussian, Threshold: 254

- If you haven’t created any classes yet, there will be nothing to choose in the next step

- Set above threshold: cFOS / GFP (check what your segmentation image is)

- Below threshold: Background

- Region: Any annotation ROI

- If the threshold 254 doesn’t work, hover your mouse over the image and check the number in the bottom right corner, for background it should be 0 (black) and cells 255 (white), if that is not the case, there was a problem with the pixel normalization in Fiji, go back to step 2

- Save thresholder as pixelclass_cFOS.json / pixelclass_GFP.json (you don’t need to put the “.json”, I just put the file ending for clarity. The two files are automatically saved in the correct folder, the one I described above. If you want to use my thresholder files, as described above (step 4), that’s where you have to put them for everything to work!)

6. QuPath – Create Objects (manual, first time setup)

- This step creates a line around the cells (that were detected by the threshold before) and saves them as classes (so you can see the count values, when you go to Annotations afterwards)

- To create objects, click the “create objects” button in the lower left corner of the thresholder window

- Create objects: All Annotations, Min cell 15 px², Min Holes 0 px² for cFOS

- Create objects: All Annotations, Min cell 40 px², Min Holes 0 px² for GFP

- Min cell means the smallest area a cell can have, anything under that is not detected, but 15 is already really small so for cFOS cells it should work for you too, if you lower it, then smaller pixels will be detected and it may be that you get too many false positives, because those pixels are not “real” cells

- “All Annotations” means, circles are only created in your polygon shape

- “Min Holes” means, if there are any holes in the cells, they will be filled, but if your model works well there shouldn’t be any, so I set it to zero

- Split objects: yes (you can check what works best for you, but if your Ilastik model is good then it doesn’t matter if this is checked or not)

- Delete existing: yes (also doesn’t really matter, this just deletes any old objects, if there are any on the picture)

7. QuPath - Export + Colocalization

- This first step exports the circles from each picture (both c-FOS and GFP segmentation images)

- The second script calculates the colocalization (overlap) of each of those exported circles and pastes both c-FOS and GFP circles on the original channel-merged pictures so you can also visually check :), neat right?

- You also have to create a new folder, I named mine “CSV_colocalization”, where the sheet containing all the values for GFP-only positive, double positive, … cells will be

- Run script Export_Objects.groovy → select output folder, I named mine Ilastik_Objects (there the circles will be saved, I also put this one in the QuPath project folder)

- Run script Batch_Colocalization_Visu.groovy

- Here input = Ilastik_Object folder, where all the circles are saved and output = folder for the CSV file (e.g. CSV_colocalization)

- When you are done, results should be saved as colocalisation_results.csv and visual in pictures should be added

Info/Troubleshooting

- If script seems to just be running again and nothing happens, save, quit QuPath, reopen project, drag in the Batch_Colocalization_Visu_path.groovy change the path names, to the folders of your PC and click run again, now it should work

- Looking at the channel-merged pictures, where the cells overlap, can be a bit confusing

- You can choose certain channels, if you click the half-moon shape or click shift+c (as described above), here you can turn the channels on and off

- The colours for the circles should be the one you set in the classes (step 3, general info)

- If you see two green circles on top of each other, that’s just a c-FOS cell and a GFP cell overlapping

Yay, that was it! I hope everything worked/works. If not, feel free to reach out.